Příloha č.2 - Technická specifikace

Technickou specifikací se rozumí soupis podporovaných prvků společnosti HP – viz tabulka. Jedná se jak o HW, tak i SW. Všechny tyto prvky musí být zahrnuty do jednotného celku, aby mohly tvořit ucelený systém (z toho důvodu zde uvádíme všechny prvky, z nichž některé prvky jsou již se stávající podporou HP). Soupis prvků obsahuje tabulka č. 1. Při incidentu musí být prvky obnoveny do původní funkčnosti, vč. obnovení dat.

Tabulka č. 1

| Produkt č. | Popis | Výrobní číslo | Množství |
| --- | --- | --- | --- |
| H1K92AC | HPE Proactive Care 24x7 SVC |  |  |
| *** Hardware *** |  |  |  |
|  | HPE Hardware Maintenance Onsite Support |  |  |
|  | Hardware Problem Diagnosis |  |  |
|  | Onsite Support |  |  |
|  | Parts and Material provided |  |  |
|  | 4 Hr Onsite Response |  |  |
|  | 24 Hrs Std Office Days |  |  |
|  | 24 hrs, Day 6 |  |  |
|  | 24 hrs, Day 7 |  |  |
|  | Holidays Covered |  |  |
|  | No Usage Limitation |  |  |
|  | Remote Delivery |  |  |
|  | Access to Adv Tech Specialists |  |  |
| H6Y96A | HPE 3PAR Store Serv 8400 2N Fld Int Base | CZ3629FLJB | 1 |
| H6Z00A | HPE 3PAR 8000 4-pt 16Gb FC Adapter | CZ262900TZ | 1 |
| H6Z00A | HPE 3PAR 8000 4-pt 16Gb FC Adapter | CZ262900SD | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0AB | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0AF | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BG | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BN | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BR | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BS | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BX | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BY | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BZ | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0C0 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DJ | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0E9 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0EF | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0EP | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0FD | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0H8 | 1 |
| E7Y71A | HPE 3PAR 8000 SFF(2. 5in) Fld Int Dr Encl | CZ3629FLJC | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0EB | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DZ | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DX | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DN | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BP | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BJ | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BF | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BE | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0B7 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0B6 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0A4 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0A2 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0A1 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N09W | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N09V | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N09S | 1 |
| E7Y72A | HPE 3PAR 8000 LFF(3. 5in) Fld Int Dr Encl | CZ3629FLJD | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0B8 | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0B5 | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0B1 | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0B0 | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AY | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AV | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AU | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AR | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AP | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AM | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AL | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0AJ | 1 |
| H6Y96A | HPE 3PAR StoreServ 8400 2N Fld Int Base | CZ3629FLJE | 1 |
| H6Z00A | HPE 3PAR 8000 4-pt 16Gb FC Adapter | CZ262900S2 | 1 |
| H6Z00A | HPE 3PAR 8000 4-pt 16Gb FC Adapter | CZ262900TT | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0GU | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0GV | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0GW | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0GX | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0GY | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0H6 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0GE | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | 2C7626N3U9 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0D7 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0D8 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DB | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DC | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0EW | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0G5 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0G6 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0GC | 1 |
| E7Y71A | HPE 3PAR 8000 SFF(2. 5in) Fld Int Dr Encl | CZ3629FLJF | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DL | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0DK | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0D4 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0AN | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0AV | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0D3 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0AW | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0B8 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0B9 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0BH | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0C9 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0A5 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0A6 | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0AJ | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0AE | 1 |
| K2P93A | HPE 3PAR 8000 1. 2TB SAS 10K SFF HDD | THH620N0A7 | 1 |
| E7Y72A | HPE 3PAR 8000 LFF(3. 5in) Fld Int Dr Encl | CZ3629FLJH | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BY | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BX | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BW | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BS | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BN | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BI | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BH | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BE | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0BB | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ618N0B7 | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ615N3AU | 1 |
| K2P96A | HPE 3PAR 8000 6TB SAS 7. 2K LFF HDD | THJ615N3AT | 1 |
| *** Software *** |  |  |  |
|  | HPE Software Technical Unlimited Support |  |  |
|  | SW Technical Support |  |  |
|  | SW Electronic Support |  |  |
|  | 24 Hrs Std Office Days |  |  |
|  | 24 Hrs Day 6 |  |  |
|  | 24 Hrs Day 7 |  |  |
|  | Holidays Covered |  |  |
|  | Standard Response |  |  |
|  | Access to Adv Tech Specialists |  |  |
| L7B69A | HPE 3PAR 8400 OS Suite Base LTU |  | 1 |
| L7B70A | HPE 3PAR 8400 OS Suite Drive LTU |  | 48 |
| L7B73A | HPE 3PAR 8400 Replication Suite Base LTU |  | 1 |
| L7B74A | HPE 3PAR 8400 Replication Ste Drive LTU |  | 48 |
| L7B71A | HPE 3PAR 8400 Data Opt St v2 Base LTU |  | 1 |
| L7B72A | HPE 3PAR 8400 Data Opt St v2 Drive LTU |  | 48 |
| BD441A | HPE 3PAR 8400 File Persona Ste 1TB LTU |  | 70 |
| L7B69A | HPE 3PAR 8400 OS Suite Base LTU |  | 1 |
| L7B70A | HPE 3PAR 8400 OS Suite Drive LTU |  | 44 |
| L7B73A | HPE 3PAR 8400 Replication Suite Base LTU |  | 1 |
| L7B74A | HPE 3PAR 8400 Replication Ste Drive LTU |  | 44 |
| L7B71A | HPE 3PAR 8400 Data Opt St v2 Base LTU |  | 1 |
| L7B72A | HPE 3PAR 8400 Data Opt St v2 Drive LTU |  | 44 |
| BD441A | HPE 3PAR 8400 File Persona Ste 1TB LTU |  | 70 |
|  | HPE Software Updates SVC |  |  |
|  | License to Use & SW Updates |  |  |
|  | HPE Recommended SW Upd Method |  |  |
|  | HPE Recommended Doc Upd Method |  |  |
| L7B69A | HPE 3PAR 8400 OS Suite Base LTU |  | 1 |
| L7B70A | HPE 3PAR 8400 OS Suite Drive LTU |  | 48 |
| L7B73A | HPE 3PAR 8400 Replication Suite Base LTU |  | 1 |
| L7B74A | HPE 3PAR 8400 Replication Ste Drive LTU |  | 48 |
| L7B71A | HPE 3PAR 8400 Data Opt St v2 Base LTU |  | 1 |
| L7B72A | HPE 3PAR 8400 Data Opt St v2 Drive LTU |  | 48 |
| BD441A | HPE 3PAR 8400 File Persona Ste 1TB LTU |  | 70 |
| BD362AAE | HPE 3PAR StoreServ Mgmt/Core SW E-Media |  | 1 |
| BD363AAE | HPE 3PAR OS Suite Latest E-Media |  | 1 |
| L7B69A | HPE 3PAR 8400 OS Suite Base LTU |  | 1 |
| L7B70A | HPE 3PAR 8400 OS Suite Drive LTU |  | 44 |
| L7B73A | HPE 3PAR 8400 Replication Suite Base LTU |  | 1 |
| L7B74A | HPE 3PAR 8400 Replication Ste Drive LTU |  | 44 |
| L7B71A | HPE 3PAR 8400 Data Opt St v2 Base LTU |  | 1 |
| L7B72A | HPE 3PAR 8400 Data Opt St v2 Drive LTU |  | 44 |
| BD441A | HPE 3PAR 8400 File Persona Ste 1TB LTU |  | 70 |
| BD362AAE | HPE 3PAR StoreServ Mgmt/Core SW E-Media |  | 1 |
| BD363AAE | HPE 3PAR OS Suite Latest E-Media |  | 1 |
| H7J32AC | HPE Foundation Care NBD SVC |  |  |
| *** Hardware *** |  |  |  |
|  | HPE Hardware Maintenance Onsite Support |  |  |
|  | Hardware Problem Diagnosis |  |  |
|  | Onsite Support |  |  |
|  | Parts and Material provided |  |  |
|  | Next Cov Day Onsite Response |  |  |
|  | Std Office Hrs Std Office Days |  |  |
| 727021-B21 | HPE BL460c Gen9 10Gb/20Gb FLB CTO Blade | CZ2629012K | 1 |
| 726995-B21 | HPE BL460c Gen9 E5-2620v3 Kit | TEDJRC4VX3537G | 1 |
| 726995-L21 | HPE BL460c Gen9 E5-2620v3 FIO Kit | TEDJRC4VX3537H | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FJ | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FK | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FC | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FD | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FE | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FF | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FI | 1 |
| 652605-B21 | HPE 146GB SAS 15K SFF SC HDD | 2BQDC0233310G5 | 1 |
| 652605-B21 | HPE 146GB SAS 15K SFF SC HDD | 2BQDC0233310NA | 1 |
| 726719-B21 | HPE 16GB 2Rx4 PC4-2133P-R Kit | REBAHC4XC352FB | 1 |
| 700764-B21 | HPE FlexFabric 20Gb 2P 650FLB FIO Adptr | PDBLC0AQ9262HJ | 1 |
| 761871-B21 | HPE Smart Array P244br/1G FIO Controller |  | 1 |
| 710608-B21 | HPE QMH2672 16Gb FC HBA |  | 1 |
|  | HPE Collaborative Remote Support |  |  |
|  | Basic Software Phone Support |  |  |
|  | Collaborative Call Managemnt |  |  |
|  | 24 Hours, Day 1-7 |  |  |
|  | Standard Response Time |  |  |
| 727021-B21 | HPE BL460c Gen9 10Gb/20Gb FLB CTO Blade | CZ2629012K | 1 |
| H7J32AC | HPE Foundation Care NBD SVC |  |  |
| *** Hardware *** |  |  |  |
|  | HPE Hardware Maintenance Onsite Support |  |  |
|  | Hardware Problem Diagnosis |  |  |
|  | Onsite Support |  |  |
|  | Parts and Material provided |  |  |
|  | Next Cov Day Onsite Response |  |  |
|  | Std Office Hrs Std Office Days |  |  |
| AM867C | HPE 8/8 Base 8-port Enabled SAN Switch | CZC625TZM4 | 1 |
| AM867C | HPE 8/8 Base 8-port Enabled SAN Switch | CZC625TZM8 | 1 |